L20A
DOORS/SHUTTERS/HATCHES


To be read with Preliminaries / General Conditions

545 RELOCATABLE PARTITION SYSTEM TO ..........................


Supplier:

Multispace Systems Ltd., Unit 12, Driffield Business Centre, Scotchburn Garth, Skerne Road, East Yorkshire, YO25 6EF, Tel: (01377) 250295, Fax: (01377) 250618

Product Reference:

Concertina Folding Partition

Sound Insulation: Rwd 15, 24, 30, 35  dB.

Partition abutments:


Head: Directly fixed to a suitable supporting structure


Floor Finish: TBA

Floor Track: Available as option.

Wall/Vertical Structure: Timber lining by others.

Construction: Steel pantographic frame with vinyl fabric covering. Vinyl is flame retardent and conforms to BS 5852 Part 1 1979. 

Seals: Sweep strips, dependant on acoustic rating.

Additional Notes:

Curved tracks and inter-sections are available.

24 Maritime colours are available from stock, with others available on request.

Differing colours are also available on either side. Vinyl is mildew resistant and restricts bacterial growth.

Vision Panels can be incorporated.

Folding can be either wideline or slimline dependant on stacking requirements.

