L20A
DOORS/SHUTTERS/HATCHES


To be read with Preliminaries / General Conditions

545 RELOCATABLE PARTITION SYSTEM TO ..........................


Supplier:

Multispace Systems Ltd., Unit 12, Driffield Business Centre, Scotchburn Garth, Skerne Road, East Yorkshire, YO25 6EF, Tel: (01377) 250295, Fax: (01377) 250618

Product Reference:

Multifold Sliding Folding Partition

Strength to BS5234-2 Grade Heavy Duty

Sound Insulation: Rw 35, 39, 42, 44 or 46 dB in accordance with BS2750: Part 3: 1980 and ISO 140/III – 1978

Partition abutments:


Head: Directly fixed to a suitable supporting structure via M8 Coach Screws

Floor Finish: TBA

Floor Track: Surface fixed threshold strip, or for top hung variants an optional floor channel is available.

Wall/Vertical Structure: TBA

Framing: Semi-Concealed aluminium vertical sections, with exposed horizontal top and bottom profile. This provides strength without a full unsightly frame.

Seals: Top, bottom and vertical rubber bulb seals.

Solid Panels: 12 mm Chipboard with Rockwool and acoustic core materials.

Finish: Choice from Veneer, Vinyl, Laminate, Spray Paint or Melamine.

Additional Notes:

System M70 utilises flip bolts to floor track

System M80 utilises Espagniolette bolts.

System M70 utilises full length Piano hinges.

System M80 utilises individual butt hinges.

